## Slide 1: Automated Industrial Safety Management system
Abdullah Al Ishtiaq – 1505080
Shashata Sawmya – 1505089

## Slide 2: Today’s industrial safety management

## Slide 3: WHAT INDUSTRIAL HAZARDS ARE WE TRYING TO CONTROL
FIRE OUTBREAK
TOXIC GAS RELEASE

## Slide 4: How are we detecting the industrial hazards automatically
MQ-5 GAS SENSOR
MQ-2 AND LM35 SENSOR FOR FIRE DETECTION
TOXIC GAS DETECTOR

## Slide 5: GAS LEAKAGE ACTION
TURN ON THE ALARM
SYSTEM
TURN OFF THE MAIN GAS LINE WITH 12 V DC VALVE
EXHAUST THE GAS WITH EXHAUST FAN
INFORM THE AUTHORITIES WITH SIM900 GSM MODULE
Cut-Off the Main Electricity Line,
Use Backup Line using Solid State Relay Switch

## Slide 6: FIRE OUTBREAK ACTION
TURN ON THE ALARM SYSTEM WITH BUZZER AND LED
TURN OFF THE MAIN GAS LINE WITH 12 V DC VALVE
INFORM THE AUTHORITIES WITH SIM900 GSM MODULE
Spray Water using Water Pump DC-12V

## Slide 7: TOXIC AIR RELEASE ACTION
TURN ON THE ALARM SYSTEM WITH BUZZER AND LED
EXHAUST THE GAS WITH EXHAUST FAN
INFORM THE AUTHORITIES WITH SIM900 GSM MODULE
DISPLAY APPROPRIATE MESSAGE IN LCD DISPLAY

## Slide 8: Conclusion
  With this system –
  It might be possible to automate industrial safety
  Minimize damage
  Save lives